## Slide 1: What alternatives are being considered?
Notes: Ron Hargrove

## Slide 2: IBT Alternative Selection
Chart: 
| Alternative 1 Convey Raw Wastewater to McDowell Creek WRF | Alternative 2 Alternate Discharge Location of Treated Effluent to McDowell Creek | Alternative 3 Increase the IBT Limit | Alternative 4 Blend with Raw Water at Franklin WTP | Alternative 5 Blend with Drinking Water | Alternative 6 New Raw Water Source from Yadkin River Basin
Capital | 673052665.775 | 524225150.2384 | 8000000 | 620558429.1072 | 664389454.4643 | 680941248.2447
O & M | 148202903.2709 | 71539739.2535 | 0 | 201261139.0708 | 259559300.5831 | 89945729.8507
Refurbishment & Replacement | 25993360.7457 | 25550279.2717 | 0 | 22461712.305 | 15522133.9993 | 56872443.2173
Millions*
Infrastructure Alternatives (1, 2, 4, 5, and 6) are much more expensive and have lengthy implementation schedules or significant regulatory hurdles that increase risk of exceeding IBT
Increasing IBT limit is substantially less expensive, and lower impacts to rate payers than other alternatives
*Costs are 2020 dollars
Notes: Other alternatives require significant capital & time to build
Requesting a higher IBT limit is significantly cheaper & does not require construction, risk with opposition bringing potential lawsuits causing delays
Costs from TM-8 Mallard Creek IBT Strategy dated June 17, 2021

## Slide 3: Preliminary Alternatives
Alternative Categories Being Considered
  Pump wastewater back to the Catawba Basin
  Water reuse options
  New water sources in the Yadkin Basin
  Increase existing IBT through modification
Alternatives Evaluation Criteria
  Capital costs
  Schedule
  O&M costs
  Benefits/risks
  Environmental factors
  Construction feasibility
Actionable alternatives raised during scoping will be considered
Further refinement during EIS
Submit questions & comments to: IBTProject@charlottenc.gov
Notes: Ron Hargrove